# H20 RIGID SHEET CLADDING

120 RAINSCREEN CLADDING …………….

Rockwool Rockpanel products are formed from compressed Rockwool with thermo-hardening synthetic binding compounds to produce a “dimensionally stable” and inert panel.   Rockpanel products are not affected by moisture or thermal changes.  They achieve Class “O” as defined in the Building Regulations.

Rockpanel products maybe cut on site with normal woodworking tools, for large areas Rockpanel BV recommend the use of a table saw or circular saw using a 64 tooth TCT fine cut blade.

Rockpanel Chameloen, Rockpanel Metallics Aluminium can only be used in ventilated constructions. Please consult Rockpanel BV for advice on use of Rockpanel cladding products in non-ventilated constructions.

Rockwool Rockpanel BV produces 5 cladding products suitable for Rainscreen cladding.

## Rockpanel Rockclad

Rockpanel Chameleon

###### Rockpanel Woods

Rockpanel Metallic

Rockpanel Natural